Abstract: Image analysis of the retina has a significant impact on the prompt identification of ocular diseases that can ultimately result in an individual losing their vision if the disease is not detected as soon as possible. Disease of the retina from diabetes is one of the leading causes of damage to the retina, where the vascular system of the retina is predominantly affected. The process to diagnose these diseases is long and requires extensive expertise from the practitioner. Recent advances in the field of image processing and artificial intelligence (AI) have enabled automated detection of retinal images using AI with a greater level of accuracy and efficiency than traditional manual techniques. In fact, recent studies using deep learning approaches are providing superior capabilities for the detection and segmentation of retinal blood vessels in comparison to manual techniques. These methods significantly enhance the ability to detect abnormalities within the retinal vascular network. This paper discusses the deep learning techniques that are currently available for retinal image analysis, specifically the techniques for segmentation of the retinal blood vessels. The paper reviews a number of published studies using different techniques for segmentation of retinal blood vessels and discusses their advantages and disadvantages. Based on this review of the current state of research, the paper identifies challenges that exist and offers suggestions for how retinal image analysis techniques can be improved in the future.